L20/540 - SLIDING FOLDING PARTITIONS TO …………………………………..

Refer to drawings: ………………………………………………………………………

Manufacturer and reference:  Multifold Sliding Partition by Building Additions Ltd

Unit C1-C2, Southgate

Commerce Park

Frome

BA11 2RY

T: 01373 454577

F: 01373 454578

www.buildingadditions.co.uk

Characteristics:	68mm thick (100mm for 45dB system) manually operated flat panel continuously hinged system with internal espagniolette locking mechanism (external footbolts are not acceptable). Panels are connected by full length piano hinges (butt hinges not acceptable). All systems are supplied as standard with 2 No. three pronged rubber sweep seals at the top and bottom of each panel and vertical ‘D’ seals in side profile. Last panel furnished as a communicating pass door panel.

Colour/Finishes:

Furniture:	Flush D-ring door handle, , removable

locking handle for alternate standard panels.

Acoustic Rating: 	Rw  in accordance with ISO 140 Part 3

Track and Roller System:

Stacking Arrangement: .

Please refer to manufacturer’s website for more details, drawings and colour swatches.